Tape and SCSI Formats

| Format | Capacity Native | Capacity Compress | Transfer Native (min) | Transfer Native (HR) | Transfer Compress | Transfer Compress (HR) |
| --- | --- | --- | --- | --- | --- | --- |
| DAT24 (HP) | 12 GB | 24 GB | 1 MB/sec |  | 2 MB/sec |  |
| DAT40 (HP) | 20 GB | 40 GB | 3 MB/sec |  | 6 MB/sec |  |
| DDS2 | 4 GB | 8 GB | .778 MB/sec |  | 1.55 MB/sec |  |
| DDS3 | 12 GB | 24 GB | 1.2 MB/sec |  | 1.55 MB/sec |  |
| DDS4 | 20 GB | 40 GB | 3 MB/sec |  | 6 MB/sec |  |
| DDS5 | 36 GB | 72 GB | 3 MB/sec |  | 6 MB/sec |  |
| DLT1 | 40 GB | 80 GB | 3 MB/sec | 10.8 GB/hr | 6 MB/sec |  |
| DLTvs80 (HP) | 40 GB | 80 GB | 3 MB/sec | 10.8 GB/hr | 6 MB/sec |  |
| DLTvs160 | 80 GB | 160 GB | 8 MB/sec | 28.8 GB/hr | 16 MB/sec |  |
| DLT80 (HP) | 40 GB | 80 GB | 6 MB/sec | GB/hr | 12 MB/sec |  |
| DLT7000 | 35 GB | 70 GB | 5 MB/sec | 18 GB/hr | 10 MB/sec |  |
| DLT8000 | 40 GB | 80 GB | 6 MB/sec | 21.6 GB/hr | 12 MB/sec |  |
| SDLT220 | 110 GB | 220 GB | 11 MB/sec | 39.6 GB/hr | 22 MB/sec |  |
| SDLT320 | 160 GB | 320 GB | 16 MB/sec | 57.6 GB/hr | 32 MB/sec |  |
| SDLT600 | 300 GB | 600 GB | 34 MB/sec |  |  |  |
| LTO | 100 GB | 200 GB | 16 MB/sec | 54 GB/hr | 32 MB/sec |  |
| LTO-2 | 200 GB | 400 GB | 30 MB/sec | 108 GB/hr | 60 MB/sec |  |
| LTO-3 | 400 GB | 800 GB | 80 MB/sec | 288 GB/hr | 160 MB/sec |  |
| AIT | 35 GB | 90 GB | 4 MB/sec | 14.4 GB/hr | 10 MB/sec |  |
| AIT-2 | 50 GB | 130 GB | 6 MB/sec | 21.6 GB/hr | 15 MB/sec |  |
| AIT-3 | 100 GB | 260 GB | 12 MB/sec | 43.2 GB/hr | 31 MB/sec |  |
| SAIT-1 | 500 GB | 1.3 TB | 30 MB/sec | 108 GB/hr | 78 MB/sec |  |
| Mammoth 1 | 20GB | 40GB | 3 MB/sec | 10.8 GB/hr | 6 MB/sec |  |
| Mammoth 2 | 60GB | 150GB | 6 MB/sec | 21.6 GB/hr | 12 MB/sec |  |
| VXA | 33 GB | 66 GB | 3 MB/sec | 10.8 GB/hr | 6 MB/sec |  |
| VXA 2 | 80 GB | 160 GB | 6 MB/sec | 21.6 GB/hr | 12 MB/sec |  |
| Travan 4 | 4 GB | 8 GB | .6 MB/sec |  | 1.2 MB/sec |  |
| Travan 5 | 10 GB | 20 GB | 1 MB/sec |  | 2 MB/sec |  |
| Travan 7 | 20 GB | 40 GB | 2 MB/sec |  | 4 MB/sec |  |
| Tape Formats.doc |  |  |  |  |  |  |

|  | Bus Width | Max Clock Rate | Burst Trans | # of Dev | Bus Type |
| --- | --- | --- | --- | --- | --- |
| SCSI-1 | 8 bits | 5 MHz | 5 MB/s | 8 | SE |
| SCSI-2 Fast Narrow | 8 bits | 10 MHz | 10 MB/s | 8 | SE |
| SCSI-2 Fast Wide | 16 bits | 10 MHz | 20 MB/s | 16 | SE |
| SCSI-2 Diff Narrow | 8 bits | 10 MHz | 10 MB/s | 8 | HVD |
| SCSI-2 Diff Wide | 16 bits | 10 MHz | 20 MB/s | 16 | HVD |
| SCSI-3 Ultra Narrow | 8 bits | 20 MHz | 20 MB/s | 8 | SE |
| SCSI-3 Ultra Wide | 16 bits | 20 MHz | 40 MB/s | 16 | SE |
| SCSI-3 Ultra2 | 16 bits | 40 MHz | 80 MB/s | 16 | LVD |
| SCSI-3 Ultra3 | 16 bits | 40 MHz | 160 MB/s | 16 | LVD |
| SCSI-3 Ultra320 | 16 bits | 40 MHz | 320 MB/s | 16 | LVD |